## summary (1)
Sample information | ng input | library prep notes |  | total reads off sequencer (from fastq) |  | sum of count | sum of usable reads family 2 or higher | reads initial bam | reads filtered bam | reads unfiltered bam | mean target coverage |  | fraction total reads | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | Counts of family size | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
280R01 | 5 | 1/5 ligation into PCR |  | 26017379 |  | 232352 | 196162 | 52034758 | 347694 | 385630 | 2.3837 |  | 0.007411 | 1 | 0.84425 | 0.70188 | 0.54648 | 0.39775 | 0.27793 | 0.18976 | 0.13167 | 0.096229 | 0.07483 |  | 36190 | 33078 | 36109 | 34556 | 27842 | 20487 | 13497 | 8234 | 4972 | 3162
280R02 | 5 | 1/5 ligation into PCR |  | 46110613 |  | 560599 | 450106 | 92221226 | 767456 | 865346 | 13 |  | 0.0093834 | 1 | 0.8029 | 0.65437 | 0.50352 | 0.36492 | 0.25122 | 0.16843 | 0.11462 | 0.082041 | 0.063118 |  | 110493 | 83267 | 84565 | 77702 | 63738 | 46410 | 30166 | 18266 | 10608 | 6103
280R03 | 5 | 1/5 ligation into PCR |  | 49343434 |  | 620803 | 502700 | 98686868 | 875110 | 969738 | 23.7523 |  | 0.0098264 | 1 | 0.80976 | 0.66122 | 0.51103 | 0.37085 | 0.25757 | 0.17501 | 0.12084 | 0.088348 | 0.069281 |  | 118103 | 92212 | 93239 | 87025 | 70322 | 51258 | 33628 | 20169 | 11837 | 7006
280R04 | 1 | 20ul into PCR |  | 62541622 |  | 1020134 | 801554 | 125083244 | 1382738 | 1534932 | 77.4912 |  | 0.012271 | 1 | 0.78573 | 0.63328 | 0.48721 | 0.35615 | 0.25101 | 0.17698 | 0.12918 | 0.10078 | 0.084535 |  | 218580 | 155521 | 149012 | 133696 | 107259 | 75525 | 48760 | 28977 | 16567 | 9601
280R05 | 1 | 20ul into PCR |  | 128471036 |  | 2793248 | 2032422 | 256942072 | 3475262 | 3871204 | 341.4942 |  | 0.015066 | 1 | 0.72762 | 0.58368 | 0.46053 | 0.35538 | 0.27295 | 0.21508 | 0.17766 | 0.15533 | 0.14261 |  | 760826 | 402061 | 343997 | 293703 | 230242 | 161633 | 104545 | 62366 | 35539 | 20905
280R06 | 1 | 20ul into PCR |  | 75608246 |  | 1285171 | 991093 | 151216492 | 1709956 | 1892000 | 97.3057 |  | 0.012512 | 1 | 0.77118 | 0.61658 | 0.47409 | 0.34938 | 0.25107 | 0.1824 | 0.13873 | 0.11318 | 0.098922 |  | 294078 | 198687 | 183122 | 160273 | 126343 | 88255 | 56120 | 32834 | 18327 | 10408
263R01 | 43.2 | standard prep |  | 87961689 |  | 36975126 |  | 175923378 |  | 16764544 | 8770.4137 |  | 0.095295 | 1 | 0.49377 | 0.25023 | 0.14281 | 0.089887 | 0.059076 | 0.039216 | 0.025943 | 0.016953 | 0.010927 |  | 18717963 | 9005019 | 3971724 | 1956830 | 1139259 | 734296 | 490775 | 332429 | 222792 | 146808
263R02 | 48 | standard prep |  | 52098185 |  | 20015349 |  | 104196370 |  | 12354762 | 5240.8132 |  | 0.11857 | 1 | 0.5475 | 0.30931 | 0.18707 | 0.11753 | 0.074266 | 0.046385 | 0.028432 | 0.017119 | 0.010125 |  | 9056889 | 4767577 | 2446686 | 1391824 | 865919 | 558038 | 359332 | 226433 | 140003 | 84685
263R03 | 52.2 | standard prep |  | 53551146 |  | 30837884 |  | 107102292 |  | 12702379 | 5652.2662 |  | 0.1186 | 1 | 0.38415 | 0.12339 | 0.03746 | 0.011844 | 0.004048 | 0.00148 | 0.000567 | 0.00022 | 8.7e-05 |  | 18991511 | 8041161 | 2650032 | 789950 | 240398 | 79202 | 28136 | 10719 | 4095 | 1645
263R04 | 47.1 | standard prep |  | 89098166 |  | 33347231 |  | 178196332 |  | 16161414 | 8297.0362 |  | 0.090694 | 1 | 0.51524 | 0.27767 | 0.16761 | 0.10963 | 0.073812 | 0.049847 | 0.033342 | 0.021976 | 0.014257 |  | 16165389 | 7922258 | 3670181 | 1933461 | 1194518 | 799149 | 550423 | 379027 | 257405 | 171353
263R05 | 45.6 | standard prep |  | 55034206 |  | 24935643 |  | 110068412 |  | 13188949 | 5463.6467 |  | 0.11983 | 1 | 0.46202 | 0.20955 | 0.10212 | 0.053752 | 0.029264 | 0.016065 | 0.008782 | 0.004746 | 0.002535 |  | 13415001 | 6295310 | 2678989 | 1205992 | 610644 | 329104 | 181619 | 100638 | 55126 | 29687
263R06 | 48.6 | standard prep |  | 77221787 |  | 31634588 |  | 154443574 |  | 15888951 | 7372.4235 |  | 0.10288 | 1 | 0.47461 | 0.22542 | 0.1184 | 0.068384 | 0.041195 | 0.025099 | 0.015194 | 0.009114 | 0.005399 |  | 16620590 | 7882865 | 3385725 | 1582107 | 860126 | 509168 | 313349 | 192344 | 117507 | 71345
263R07 | 10 | standard prep |  | 13163871 |  | 7002269 |  | 26327742 |  | 3463608 | 1385.937 |  | 0.13156 | 1 | 0.41948 | 0.16297 | 0.067317 | 0.030931 | 0.015339 | 0.0078 | 0.004036 | 0.002058 | 0.00105 |  | 4064969 | 1796163 | 669766 | 254783 | 109179 | 52790 | 26361 | 13847 | 7057 | 3581
266R01 | 5.8 | 1/5 ligation into PCR (4ul) |  | 127515682 |  | 2982241 |  | 255031364 |  | 4963788 | 793.2719 | 0.00015981 | 0.019463 | 1 | 0.84705 | 0.76322 | 0.66675 | 0.56237 | 0.46314 | 0.37875 | 0.31328 | 0.26676 | 0.23464 |  | 456147 | 249979 | 287705 | 311286 | 295925 | 251683 | 195246 | 138728 | 95774 | 63905
266R02 | 5.8 | 1/10 ligation into PCR (2ul) |  | 53310051 |  | 1103501 |  | 106620102 |  | 1840198 | 277.3077 | 0.0001507 | 0.017259 | 1 | 0.85243 | 0.75231 | 0.64214 | 0.53266 | 0.43592 | 0.35853 | 0.30222 | 0.264 | 0.23866 |  | 162843 | 110480 | 121578 | 120812 | 106752 | 85398 | 62136 | 42173 | 27970 | 18334
266R03 | 5.8 | 1/15 ligation into PCR (1.3ul) |  | 43262965 |  | 810532 |  | 86525930 |  | 1362516 | 197.566 | 0.000145 | 0.015747 | 1 | 0.85844 | 0.76478 | 0.65972 | 0.55061 | 0.45013 | 0.3677 | 0.30692 | 0.26456 | 0.23663 |  | 114737 | 75913 | 85156 | 88441 | 81443 | 66811 | 49263 | 34331 | 22645 | 14455
266R04 | 5.8 | 1/20 ligation into PCR (1ul) |  | 49738477 |  | 648359 |  | 99476954 |  | 1036704 | 105.7515 | 0.00010201 | 0.010422 | 1 | 0.82264 | 0.71226 | 0.59323 | 0.4768 | 0.37606 | 0.29841 | 0.24464 | 0.20953 | 0.1874 |  | 114990 | 71567 | 77179 | 75485 | 65318 | 50343 | 34862 | 22767 | 14349 | 8647
266R05 | 5.8 | 1/50 ligation into PCR (0.4ul) |  | 28622872 |  | 352898 |  | 57245744 |  | 570516 | 57.6896 | 0.00010112 | 0.0099661 | 1 | 0.8307 | 0.71815 | 0.59737 | 0.47945 | 0.37688 | 0.29782 | 0.24199 | 0.20587 | 0.18331 |  | 59747 | 39719 | 42622 | 41613 | 36196 | 27902 | 19703 | 12746 | 7960 | 4887
| undersand read losses - where are reads going |  |  |  | downsample series |  |  |  | fill in remaining columns |  | reformat as a narrative report, what experiments were done and why, what the results are
1) Compared different methods of library prep against standard prep (which didn't work), found that 1/5 was most favorable. This is in terms of the fraction of reads of family size X or higher and also effecive coverage per base after normalizing to sequence read depth.
2) Mallory repeated preps using the 1/5 ligation approach, and also tyring to input a smaller (equivalent) amount of total dna in to ligagtion (rather than biottnecking after ligation).
a. repeating 1/5 ligation yields usable reads (2X or higher) are approximately equivalent from the prior run
b. read coverage for 1/5 ligation mixes are way too low
c. Difficult to evaluate effects of different library prep methods due to inequalities in read depth.
3) Evaluated effects of filtering by fbbio on latest data. Filtering has a negligible impact on usable consensus reads
| 4) Jontahan checks. | [12 empty] | 2: floor
| a. minor hit taken with filtering, insignificant change | [10 empty] | for 10,000X |  | 2: 0.1%; 3: 0.001
| b. | [10 empty] | 12.6103 |  | 3: 0.0001
[12 empty] | 1608016166.4565 |  | 3: 10,000X
Additional output Jonathan requested | [11 empty] | 1.6 billion reads
280 run only
Mark duplicates output
Alignment, no consesus calls
LIBRARY | UNPAIRED_READS_EXAMINED | READ_PAIRS_EXAMINED | SECONDARY_OR_SUPPLEMENTARY_RDS | UNMAPPED_READS | UNPAIRED_READ_DUPLICATES | READ_PAIR_DUPLICATES | READ_PAIR_OPTICAL_DUPLICATES | PERCENT_DUPLICATION | ESTIMATED_LIBRARY_SIZE
280R01 | 30881 | 25982837 | 78324 | 38203 | 29923 | 25658058 | 65048 | 0.98749 | 324779
280R02 | 115830 | 45980156 | 97345 | 145084 | 112852 | 45162820 | 27974 | 0.98221 | 817336
280R03 | 70305 | 49258441 | 90335 | 99681 | 67911 | 48423660 | 28456 | 0.98304 | 834781
280R04 | 129722 | 62372794 | 134039 | 207934 | 125216 | 61204655 | 30508 | 0.98125 | 1168139
280R05 | 367302 | 127958585 | 260125 | 657600 | 350644 | 125024452 | 43487 | 0.97704 | 2934133
280R06 | 158293 | 75413520 | 161389 | 231159 | 153578 | 73923652 | 33501 | 0.98023 | 1489868
Consensus and filtering
LIBRARY | UNPAIRED_READS_EXAMINED | READ_PAIRS_EXAMINED | SECONDARY_OR_SUPPLEMENTARY_RDS | UNMAPPED_READS | UNPAIRED_READ_DUPLICATES | READ_PAIR_DUPLICATES | READ_PAIR_OPTICAL_DUPLICATES | PERCENT_DUPLICATION | ESTIMATED_LIBRARY_SIZE
280R01 | 308 | 173435 | 261 | 516 | 26 | 4871 | 0 | 0.028135 | 3029544
280R02 | 787 | 382908 | 599 | 853 | 99 | 15897 | 0 | 0.041603 | 4482976
280R03 | 882 | 436615 | 684 | 998 | 115 | 31417 | 0 | 0.072015 | 2886555
280R04 | 1245 | 689905 | 968 | 1683 | 185 | 111784 | 0 | 0.16202 | 1892185
280R05 | 2710 | 1734795 | 2097 | 2962 | 577 | 347565 | 0 | 0.20036 | 3729464
280R06 | 1687 | 852965 | 1234 | 2339 | 280 | 108305 | 0 | 0.12701 | 3068014
Just consensus calling
LIBRARY | UNPAIRED_READS_EXAMINED | READ_PAIRS_EXAMINED | SECONDARY_OR_SUPPLEMENTARY_RDS | UNMAPPED_READS | UNPAIRED_READ_DUPLICATES | READ_PAIR_DUPLICATES | READ_PAIR_OPTICAL_DUPLICATES | PERCENT_DUPLICATION | ESTIMATED_LIBRARY_SIZE
280R01 | 346 | 192366 | 725 | 552 | 39 | 5992 | 0 | 0.031222 | 3023379
280R02 | 934 | 431704 | 1911 | 1004 | 136 | 18741 | 0 | 0.043522 | 4827241
280R03 | 1003 | 483803 | 1928 | 1129 | 154 | 35005 | 0 | 0.072438 | 3180021
280R04 | 1414 | 765827 | 2811 | 1864 | 249 | 120718 | 0 | 0.15765 | 2166564
280R05 | 3160 | 1932120 | 6594 | 3804 | 798 | 394083 | 0 | 0.204 | 4067726
280R06 | 1889 | 943782 | 3621 | 2547 | 341 | 116751 | 0 | 0.12376 | 3493086
CollectHSMetrics output:
Alignment, no consesus calls
SAMPLE | BAIT_SET | GENOME_SIZE | BAIT_TERRITORY | TARGET_TERRITORY | BAIT_DESIGN_EFFICIENCY | TOTAL_READS | PF_READS | PF_UNIQUE_READS | PCT_PF_READS | PCT_PF_UQ_READS | PCT_PF_UQ_READS_ALIGNED |  | PF_UQ_BASES_ALIGNED | ON_BAIT_BASES | NEAR_BAIT_BASES | OFF_BAIT_BASES | ON_TARGET_BASES | PCT_SELECTED_BASES | PCT_OFF_BAIT | ON_BAIT_VS_SELECTED | MEAN_BAIT_COVERAGE | MEAN_TARGET_COVERAGE | MEDIAN_TARGET_COVERAGE | MAX_TARGET_COVERAGE | PCT_USABLE_BASES_ON_BAIT | PCT_USABLE_BASES_ON_TARGET | FOLD_ENRICHMENT | ZERO_CVG_TARGETS_PCT | PCT_EXC_DUPE | PCT_EXC_MAPQ | PCT_EXC_BASEQ | PCT_EXC_OVERLAP | PCT_EXC_OFF_TARGET | FOLD_80_BASE_PENALTY | PCT_TARGET_BASES_1X | PCT_TARGET_BASES_2X | PCT_TARGET_BASES_10X | PCT_TARGET_BASES_20X | PCT_TARGET_BASES_30X | PCT_TARGET_BASES_40X | PCT_TARGET_BASES_50X | PCT_TARGET_BASES_100X | HS_LIBRARY_SIZE | HS_PENALTY_10X | HS_PENALTY_20X | HS_PENALTY_30X | HS_PENALTY_40X | HS_PENALTY_50X | HS_PENALTY_100X | AT_DROPOUT | GC_DROPOUT | HET_SNP_SENSITIVITY | HET_SNP_Q | LIBRARY | READ_GROUP
280R01 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 52034758 | 52034758 | 52034758 | 1 | 1 | 0.99927 |  | 5224664753 | 3525700508 | 767342975 | 931621270 | 3086808211 | 0.82169 | 0.17831 | 0.82126 | 13804.6222 | 12086.1715 | 7 | 157759 | 0.6708580.587347 | 8195.5962 | 0.099836 | 0 | 0.040991 | 0.018921 | 0.075385 | 0.87621 | ? | 0.55453 | 0.54435 | 0.48946 | 0.47404 | 0.4640050.458125 | 0.45352 | 0.4372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 8.0279 | 2.9888 | 0.53606 | 3
280R02 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 92221226 | 92221226 | 92221226 | 1 | 1 | 0.99843 |  | 9241382172 | 6604235927 | 926962649 | 1710183596 | 5356781109 | 0.81494 | 0.18506 | 0.87692 | 25858.4022 | 20974.0842 | 200 | 93753 | 0.7090390.575111 | 8679.1903 | 0 | 0 | 0.04954 | 0.017539 | 0.1373 | 0.80553 | 104.8704 | 0.99482 | 0.99479 | 0.99376 | 0.99203 | 0.99124 | 0.99028 | 0.98995 | 0.98912 |  | 0 | 0 | 0 | 0 | 0 | 0 | 6.1903 | 0.51075 | 0.99472 | 23
280R03 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 98686868 | 98686868 | 98686868 | 1 | 1 | 0.99899 |  | 9884906248 | 7081626331 | 1121410462 | 1681869455 | 5841423690 | 0.82986 | 0.17014 | 0.86329 | 27727.5894 | 22871.6668 | 200 | 77308 | 0.71048 | 0.58605 | 8700.6964 | 0 | 0 | 0.049976 | 0.016559 | 0.12613 | 0.81623 | 114.3583 | 0.99805 | 0.99789 | 0.99658 | 0.99624 | 0.9956 | 0.99513 | 0.99498 | 0.99406 |  | 0 | 0 | 0 | 0 | 0 | 0 | 3.6156 | 1.9275 | 0.99777 | 27
280R04 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 125083244 | 125083244 | 125083244 | 1 | 1 | 0.99834 |  | 12515859039 | 8853694668 | 1453238223 | 2208926148 | 7327186787 | 0.82351 | 0.17649 | 0.859 | 34665.9932 | 28689.0634 | 200 | 85850 | 0.70082 | 0.5799858591.271419 | 0 | 0 | 0.045391 | 0.018033 | 0.12209 | 0.82494 | 143.4453 | 0.99977 | 0.99957 | 0.99947 | 0.9993 | 0.9993 | 0.9992990.999299 | 0.99917 |  | 0 | 0 | 0 | 0 | 0 | 0 | 4.2763 | 0.88912 | 0.99959 | 34
280R05 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 256942072 | 256942072 | 256942072 | 1 | 1 | 0.99744 |  | 25695126960 | 19202240154 | 2109647260 | 4383239546 | 14914263649 | 0.82941 | 0.17059 | 0.90101 | 75184.9654 | 58395.7073 | 200 | 142321 | 0.7399380.574705 | 9076.0043 | 0 | 0 | 0.046011 | 0.020414 | 0.1722 | 0.7739 | 291.9785 | 0.99943 | 0.99943 | 0.99943 | 0.99943 | 0.9994240.999327 | 0.99933 | 0.99933 |  | 0 | 0 | 0 | 0 | 0 | 0 | 6.6804 | 0.58689 | 0.99943 | 32
280R06 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 151216492 | 151216492 | 151216492 | 1 | 1 | 0.99847 |  | 15153713882 | 10717078799 | 1898581851 | 2538053232 | 9066438248 | 0.83251 | 0.16749 | 0.84951 | 41961.9374 | 35498.9751 | 200 | 84713 | 0.7017070.59363 | 8589.1642 | 0 | 0 | 0.03909 | 0.017549 | 0.10737 | 0.84589 | 177.4949 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 0 | 0 | 0 | 0 | 0 | 3.5201 | 0.76204 | 1 | 157
Consensus and filtering
SAMPLE | BAIT_SET | GENOME_SIZE | BAIT_TERRITORY | TARGET_TERRITORY | BAIT_DESIGN_EFFICIENCY | TOTAL_READS | PF_READS | PF_UNIQUE_READS | PCT_PF_READS | PCT_PF_UQ_READS | PCT_PF_UQ_READS_ALIGNED |  | PF_UQ_BASES_ALIGNED | ON_BAIT_BASES | NEAR_BAIT_BASES | OFF_BAIT_BASES | ON_TARGET_BASES | PCT_SELECTED_BASES | PCT_OFF_BAIT | ON_BAIT_VS_SELECTED | MEAN_BAIT_COVERAGE | MEAN_TARGET_COVERAGE | MEDIAN_TARGET_COVERAGE | MAX_TARGET_COVERAGE | PCT_USABLE_BASES_ON_BAIT | PCT_USABLE_BASES_ON_TARGET | FOLD_ENRICHMENT | ZERO_CVG_TARGETS_PCT | PCT_EXC_DUPE | PCT_EXC_MAPQ | PCT_EXC_BASEQ | PCT_EXC_OVERLAP | PCT_EXC_OFF_TARGET | FOLD_80_BASE_PENALTY | PCT_TARGET_BASES_1X | PCT_TARGET_BASES_2X | PCT_TARGET_BASES_10X | PCT_TARGET_BASES_20X | PCT_TARGET_BASES_30X | PCT_TARGET_BASES_40X | PCT_TARGET_BASES_50X | PCT_TARGET_BASES_100X | HS_LIBRARY_SIZE | HS_PENALTY_10X | HS_PENALTY_20X | HS_PENALTY_30X | HS_PENALTY_40X | HS_PENALTY_50X | HS_PENALTY_100X | AT_DROPOUT | GC_DROPOUT | HET_SNP_SENSITIVITY | HET_SNP_Q | LIBRARY | READ_GROUP
280R01 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 347694 | 347694 | 347694 | 1 | 1 | 0.99852 |  | 34890527 | 598140 | 213642 | 34078745 | 536607 | 0.023267 | 0.97673 | 0.73682 | 2.342 | 2.101 | 1 | 26 | 0.01707 | 0.015314 | 208.2039 | 0.12439 | 0 | 0.001116 | 0.00554 | 0.080297 | 0.91287 | ? | 0.52705 | 0.37844 | 0.039401 | 0.001167 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 6.1375 | 2.2017 | 0.40533 | 2
280R02 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 767456 | 767456 | 767456 | 1 | 1 | 0.99889 |  | 77024136 | 4093146 | 971195 | 71959795 | 3386806 | 0.06575 | 0.93425 | 0.80823 | 16.0264 | 13.2608 | 13 | 54 | 0.052859 | 0.043737 | 645.3926 | 0 | 0 | 0.000643 | 0.005207 | 0.15343 | 0.84019 | 1.8944 | 0.99262 | 0.98438 | 0.68014 | 0.17033 | 0.02359 | 0.001672 | 0.00011 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5.0231 | 0.75733 | 0.96006 | 14
280R03 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 875110 | 875110 | 875110 | 1 | 1 | 0.99886 |  | 87546217 | 68600000000000 | 79115803 | 5773997 | 0.096297 | 0.9037 | 0.81329 | 26.8457 | 22.6077 | 22 | 73 | 0.077909 | 0.06561 | 951.1574 | 0 | 0 | 0.000795 | 0.005073 | 0.13473 | 0.8586 | 1.7391 | 0.99659 | 0.99351 | 0.90225 | 0.58732 | 0.24467 | 0.067737 | 0.012905 | 0 |  | 0 | 0 | 0 | 0 | 0 | 2.4208 | 1.8407 | 0.9868 | 19
280R04 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 1382738 | 1382738 | 1382738 | 1 | 1 | 0.99878 |  | 138364238 | 22480630 | 4621286 | 111262322 | 18944770 | 0.19587 | 0.80413 | 0.82949 | 88.0213 | 74.1769 | 73 | 194 | 0.16169 | 0.13626 | 1973.2322 | 0 | 0.001431 | 0.005213 | 0.13042 | 0.86122 | 1.4544 | 0.99877 | 0.9983 | 0.99348 | 0.98148 | 0.95022 | 0.8989 | 0.81521 | 0.17772 | 0 | 0 | 0 | 0 | 0 | 3.8788 | 0.98441 | 0.99808 | 27
280R05 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 3475262 | 3475262 | 3475262 | 1 | 1 | 0.99915 |  | 348713041 | 101068470 | 14843973 | 232800598 | 80405643 | 0.3324 | 0.6676 | 0.87194 | 395.7262 | 314.8224 | 200 | 683 | 0.2887 | 0.22968 | 3519.987 | 0 | 0 | 0.000435 | 0.004186 | 0.18548 | 0.80684 | 1.5741 | 0.99906 | 0.99896 | 0.99863 | 0.99734 | 0.99511 | 0.99326 | 0.99096 | 0.97475 |  | 0 | 0 | 0 | 0 | 0 | 0 | 5.4679 | 0.73804 | 0.99896 | 30
280R06 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 1709956 | 1709956 | 1709956 | 1 | 1 | 0.99863 |  | 171421428 | 27657740 | 6301845 | 137461843 | 23803825 | 0.19811 | 0.80189 | 0.81443 | 108.2919 | 93.2021 | 94 | 201 | 0.16057 | 0.1382 | 1959.4994 | 0 | 0 | 0.001147 | 0.005026 | 0.11274 | 0.87936 | 1.3127 | 1 | 0.99991 | 0.9985 | 0.99397 | 0.98559 | 0.9682 | 0.94002 | 0.41853 |  | 0 | 0 | 0 | 0 | 0 | 2.6286 | 0.87814 | 0.99979 | 37
Just consensus calling
SAMPLE | BAIT_SET | GENOME_SIZE | BAIT_TERRITORY | TARGET_TERRITORY | BAIT_DESIGN_EFFICIENCY | TOTAL_READS | PF_READS | PF_UNIQUE_READS | PCT_PF_READS | PCT_PF_UQ_READS | PCT_PF_UQ_READS_ALIGNED |  | PF_UQ_BASES_ALIGNED | ON_BAIT_BASES | NEAR_BAIT_BASES | OFF_BAIT_BASES | ON_TARGET_BASES | PCT_SELECTED_BASES | PCT_OFF_BAIT | ON_BAIT_VS_SELECTED | MEAN_BAIT_COVERAGE | MEAN_TARGET_COVERAGE | MEDIAN_TARGET_COVERAGE | MAX_TARGET_COVERAGE | PCT_USABLE_BASES_ON_BAIT | PCT_USABLE_BASES_ON_TARGET | FOLD_ENRICHMENT | ZERO_CVG_TARGETS_PCT | PCT_EXC_DUPE | PCT_EXC_MAPQ | PCT_EXC_BASEQ | PCT_EXC_OVERLAP | PCT_EXC_OFF_TARGET | FOLD_80_BASE_PENALTY | PCT_TARGET_BASES_1X | PCT_TARGET_BASES_2X | PCT_TARGET_BASES_10X | PCT_TARGET_BASES_20X | PCT_TARGET_BASES_30X | PCT_TARGET_BASES_40X | PCT_TARGET_BASES_50X | PCT_TARGET_BASES_100X | HS_LIBRARY_SIZE | HS_PENALTY_10X | HS_PENALTY_20X | HS_PENALTY_30X | HS_PENALTY_40X | HS_PENALTY_50X | HS_PENALTY_100X | AT_DROPOUT | GC_DROPOUT | HET_SNP_SENSITIVITY | HET_SNP_Q | LIBRARY | READ_GROUP
280R01 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 385630 | 385630 | 385630 | 1 | 1 | 0.99857 |  | 38362029 | 678007 | 234619 | 37449403 | 608807 | 0.02379 | 0.97621 | 0.74292 | 2.6547 | 2.3837 | 1 | 48 | 0.017444 | 0.015664 | 214.6477 | 0.11948 | 0 | 0.0015180.000762 | 0.078516 | 0.91905 | ? | 0.53256 | 0.38994 | 0.055854 | 0.00471 | 0.001433 | 0.000685 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5.9907 | 2.3222 | 0.41423 | 2
280R02 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 865346 | 865346 | 865346 | 1 | 1 | 0.99884 |  | 85997255 | 43700000000000 | 80595328 | 3627773 | 0.062815 | 0.93719 | 0.80952 | 17.122 | 14.2043 | 13 | 74 | 0.050082 | 0.041548 | 617.568 | 0 | 0 | 0.0013090.000872 | 0.15007 | 0.84728 | 1.7755 | 0.99336 | 0.98701 | 0.71353 | 0.21082 | 0.039977 | 0.006641 | 0.001413 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4.7944 | 0.69962 | 0.96499 | 15
280R03 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 969738 | 969738 | 969738 | 1 | 1 | 0.99884 |  | 96260119 | 7182842 | 1645921 | 87431356 | 6066349 | 0.091718 | 0.90828 | 0.81357 | 28.1239 | 23.7523 | 23 | 111 | 0.07364 | 0.062194 | 906.2405 | 0 | 0 | 0.0012610.000809 | 0.13241 | 0.86479 | 1.6966 | 0.99725 | 0.9946 | 0.91573 | 0.6193 | 0.2798 | 0.084409 | 0.020607 | 0.00083 |  | 0 | 0 | 0 | 0 | 0 | 2.2105 | 1.7528 | 0.98886 | 20
280R04 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 1534932 | 1534932 | 1534932 | 1 | 1 | 0.99879 |  | 152426613 | 23411084 | 4821141 | 124194388 | 19791264 | 0.18522 | 0.81478 | 0.82923 | 91.6644 | 77.4912 | 76 | 242 | 0.15166 | 0.12821 | 1865.324 | 0 | 0.00227 | 0.000967 | 0.12809 | 0.86713 | 1.435 | 0.9988 | 0.99868 | 0.99562 | 0.98736 | 0.96014 | 0.9151 | 0.83948 | 0.21224 |  | 0 | 0 | 0 | 0 | 0 | 3.9662 | 0.81598 | 0.99847 | 28
280R05 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 3871204 | 3871204 | 3871204 | 1 | 1 | 0.99902 |  | 385278232 | 109379560 | 16020372 | 259878300 | 87217615 | 0.32548 | 0.67452 | 0.87225 | 428.2677 | 341.4942 | 200 | 750 | 0.28043 | 0.22361 | 3447.9048 | 0 | 0 | 0.000975 | 0.001396 | 0.18147 | 0.81344 | 1.7075 | 0.99906 | 0.99896 | 0.99872 | 0.99843 | 0.99732 | 0.99573 | 0.9941430.982662 |  | 0 | 0 | 0 | 0 | 0 | 0 | 5.4848 | 0.6283 | 0.99897 | 30
280R06 | MONC_ctDNA1.3_designed_probe_coords_180314_no_chr.Picard.bed | 3101804739 | 255400 | 255400 | 1 | 1892000 | 1892000 | 1892000 | 1 | 1 | 0.99865 |  | 188167077 | 28790814 | 6610865 | 152765398 | 24851870 | 0.18814 | 0.81186 | 0.81326 | 112.7283 | 97.3057 | 98 | 271 | 0.15105 | 0.13039 | 1858.2488 | 0 | 0 | 0.0019330.000985 | 0.11032 | 0.88518 | 1.2974 | 0.99991 | 0.9999 | 0.99912 | 0.99661 | 0.9909 | 0.97854 | 0.956 | 0.4742 |  | 0 | 0 | 0 | 0 | 0 | 2.5154 | 0.77531 | 0.99983 | 38